5.1	ELECTRICAL MACHINES - II

# L   T   P

4    -    3

### RATIONALE

Electrical machines is a subject where a student will deal with various types of electrical machines which are employed in industries, power stations, domestic and commercial appliances etc. After studying this subject, an electrical diploma holder must be competent to repair and maintain these machines and give suggestions to improve their performance. Explanation of practical aspects of the subject will make the students capable of performing various tests on the machines as per latest BIS specifications

LEARNING OUTCOMES

After undergoing the subject, students will be able to:

- Demonstrate the constructional features of a synchronous machine and its working as a synchronous motor

- Operate the synchronous motor as synchronous condenser

- Use 3-( induction motor in the industry for various operations

- Operate and maintain three phase squirrel cage and three phase slip ring induction motors.

- Start and reverse the direction of rotation of three phase induction motors using different types of starters.

- Conduct speed control of three phase induction motor.

- Operate and maintain double cage induction motors.

- Recognize the condition of cogging and crawling in three phase induction motors.

- Operate different types of single phase induction motors.

- Operate different types of special purpose motors

## DETAILED CONTENTS

- 3 Phase Induction Motors					          (  25 Periods)

- Salient constructional features of squirrel cage and slip ring 3-phase induction  motors

- Principle of operation, slip and its significance

- Locking of rotor and stator fields

- Rotor resistance, inductance, emf and current

- Relationship between rotor copper losses, slip and rotor input power.

- Power flow diagram of an induction motor

- Factors determining the torque

- Torque-slip curve, stable and unstable zones

- Effect of rotor resistance upon the torque slip curve

- Double cage rotor motor and its applications

- Starting of 3-phase induction motors, DOL, star-delta, auto transformer 	starter.

- Causes of low power factor of induction motors

- Testing of 3-phase motor on no load and blocked rotor test and to find efficiency

- Method of Speed control of induction motor

- Harmonics and its effects, cogging and crawling in Induction Motors.

- Specifications and ratings of induction motors.

2.	Single Phase Motors					                    ( 10  Periods)

2.1	Single phase induction motors; Construction characteristics, specifications and applications

2.2	Nature of field produced in single phase induction motor-double revolving 		field theory.

2.3	Split phase induction motor

2.3.1	Capacitor start, capacitor run, capacitor start and run motor

2.3.2	Shaded pole motor

2.4	Alternating current series motor and universal motors, construction, 			working principle and operation, application.

2.5	Single phase synchronous motor

2.5.1	Reluctance motor

2.5.2	Hysteresis motor

3      Synchronous Machines							   (25 periods  )

3.1     Main constructional features of synchronous machine including commutator 	and brushless excitation system

3.2	Production of rotating magnetic field in a three phase winding

3.3	Generation of three phase emf

3.4	Concept of distribution factor and coil span factor and emf equation

Armature reaction at unity, lag and lead power factor

3.5	Equivalent circuit diagram of synchronous machine

3.6	Concept of voltage regulation. Determination of voltage regulation by synchronous impedance method.

3.7.	Operation of single synchronous machine independently supplying a load.

3.8.	Concept of infinite bus bar.	Need and necessary conditions of parallel operation of alternators, Synchronizing an alternator (Synchroscope method) with the bus bars

3.9	Operation of synchronous machine as a motor –its starting methods

3.10    Effect of change in excitation of a synchronous motor, V curve, Concept 	of synchronous condenser.

3.11    Concept and cause of hunting and its prevention

3.12    Specification, rating and cooling of synchronous machines

3.13    Applications of synchronous machines

4.	Special Purpose Machines         					( 05 periods )

Construction, working principle and application of linear induction motor, stepper motor,  AC Servomotor, Submersible Motor,

###### LIST OF PRACTICALS

- Determination of efficiency by (a) no load test and blocked rotor test on an induction motor  (b) direct loading of an induction motor (refer BIS code)

- Determination of effect of rotor resistance on torque speed curve of an induction motor

- Observe the performance of a ceiling fan (I-() induction motor) without capacitor

Determine the  effect of change in capacitor on the performance of 1-phase induction motor and reverse the direction of motor.

4.	To plot relationship between no load terminal voltage and excitation current in a synchronous generator at constant speed

5.	Determination of the relationship between the voltage and load current of an alternator, keeping excitation and speed constant

6.	Determination of the regulation and efficiency of alternator from the open circuit and short circuit test

7	Determination of the effect of variation of excitation on performance of a synchronous motor

INSTRUCTIONAL STRATEGY

Teacher should lay-emphasis on development of understanding amongst students about basic principles of operation and control of electrical machines.  This may be achieved by conducting quiz tests and by giving home assignments.  The teachers should also conduct laboratories classes themselves encouraging each should to perform with his/her own hands and draw conclusions.

MEANS OF ASSESSMENT

- Assignments and quiz/class tests, mid-term and end-term written tests, model/prototype making

- Actual laboratory and practical work, model/prototype making, assembly and disassembly exercises and viva-voce

RECOMMENDED BOOKS

- Electrical Machines by SK Bhattacharya, Tata Mc Graw Hill, New Delhi

- Electrical Machines by SK Sahdev, Uneek Publications, Jalandhar

- Electrical Machines by Nagrath and Kothari, Tata Mc Graw Hill, New Delhi

Electrical Engineering by JB Gupta, SK Kataria  and sons, New Delhi

- Electrical Machines by Samarjit Ghosh, Pearson Education (Singapore) Pte, Ltd.                          482, FIE Patparganj, Delhi 110092

- Electrical Machines by DR Arora, Ishan Publications, Ambala City.

6	e-books/e-tools/relevant software to be used as recommended by 	AICTE/HSBTE/NITTTR.

Websites for Reference:

http://swayam.gov.in

SUGGESTED DISTRIBUTION OF MARKS

| Topic No | Time Allotted (Periods) | Marks Allocation (%) |
| --- | --- | --- |
| 1 | 25 | 35 |
| 2 | 10 | 20 |
| 3 | 25 | 35 |
| 4 | 04 | 10 |
| Total | 64 | 100 |

5.2         ELECTRICAL POWER – 1

L   T   P

4    -    -

RATIONALE

The majority of the diploma passouts who get employment in State Electricity Boards have to perform various activities in the field of generation, transmission and distribution of electrical power. The range of these activities vary from simple operation and maintenance of equipment, lines, fault location, planning and designing of simple distribution schemes, executive and supervisory control in power stations, transmission and distribution networks in addition to administrative jobs including public relations. They should also be made aware of recent developments, current practices in the electricity departments, corporations and boards to keep them abreast with modern techniques in transmission and distribution of electrical power.

LEARNING OUTCOMES

After undergoing the subject, students will be able to:

- Distinguish and select suitable resource of energy required for a particular area and environment

- Calculate effective cost generation

- Select suitable supporting structure, insulators, conductors and other accessories for transmission lines and distribution lines

- Prepare layout plan for HT and LT lines/distribution system

- Prepare estimate for HT and LT (OH and underground cables) lines

- Operate and maintain indoor and outdoor substations

- Use various methods for improvement of power factor

DETAILED CONTENTS

1.	Power Generation							(12 Periods)

  - Main resources of energy, conventional and non-conventional

  - Different types of power stations, thermal, hydro, gas, diesel and nuclear power stations. Flow diagrams and  details of their operation, comparison of the generating stations on the basis of running cost, site, starting, maintenance etc.

  - Importance of non-conventional sources of energy in the  present scenario. Brief details of solar energy, bio-energy, wind energy

2.	Economics of Generation						(06 Periods)

  - Fixed and running cost, load estimation, load curves, demand factor, load factor, diversity factor, power factor and their effect on cost of generation, simple problems there on.

  - Base load and peak load power stations, inter-connection of power stations and its advantages, concept of regional and national grid.

3.   	Transmission Systems						            (20 Periods)

  - Layout of transmission system, selection of voltage for H.T and L.T lines,        advantages of high voltage for Transmission both AC and DC

  - Comparison of different system: AC versus DC for power transmission, conductor  material  and sizes from standard tables

  - Constructional features of transmission lines: Types of supports, types of insulators, Types of conductors, Selection of insulators, conductors, earth wire and their accessories, Transposition of conductors and string efficiency of suspension type insulators, Bundle Conductors.

  - Mechanical features of line: Importance of sag, calculation of sag, effects of wind and ice related problems; Indian electricity rules pertaining to clearance

  - Electrical features of line: Calculation of resistance, inductance and capacitance without derivation in a.c. transmission line, voltage regulation, and concept of corona. Effects of corona and remedial measures

  - Transmission Losses

4.	Distribution System           					            (16 Periods)

  - Lay out of HT and LT distribution system, constructional feature of distribution lines and their erection.  LT feeders and service mains; Simple problems on AC radial distribution system, determination of size of conductor

  - Preparation of estimates of HT and LT lines (OH and Cables).

  - Constructional features of LT (400 V), HT (II kV) underground cables, advantages and disadvantages of underground system with respect to overhead system.

  - Losses in distribution system

  - Faults in underground cables-determine fault location by  Blavier Test, Murray Loop Test, Varley Loop Test

5.   	Substations:								(06 Periods)

  - Brief idea about substations; out door grid sub-station 220/132 KV, 66/33 KV   outdoor substations, pole mounted substations and indoor substation

5.2	 	Layout of 33/11 kV/400V distribution substation and various auxiliaries and equipment associated with it.

6.   	Power Factor:								(04 Periods)

6.1  	Concept of power factor

6.2  	Reasons and disadvantages of low power factor

6.3   	Methods for improvement of power factor using capacitor banks, VAR `	Static Compensator (SVC)

Note: 	students should visit power generation plants, sub-stations etc.

INSTRUCTIONAL STRATEGY

Since this is a descriptive and practice oriented subject, it is suggested that visits to different types of power generating stations and substations including grid stations be arranged and various equipment, accessories and components explained to the students before the actual class room teaching and make them familiar with the equipment and accessories installed over there.  There should be at least 3 visits during the semester.  The students may be asked to prepare notes while on visit and submit the report and give seminar. In addition, viva-voce be conducted to evaluate the knowledge gained during the field visit.

MEANS OF ASSESSMENT

- Assignments and quiz/class tests, mid-term and end-term written tests, model/prototype making

- Actual laboratory and practical work, model/prototype making, assembly and disassembly exercises and viva-voce

RECOMMENDED BOOKS

- Electrical Power System and Analysis by CL Wadhwa, 3rd edition, New Age International Publishers, New Delhi

- Substation Design and Equipment by Satnam and PV Gupta, Dhanpat Rai & Sons, New Delhi

- Electrical Power –I by  SK Sahdev, Uneek Publications, Jalandhar

- Electrical Power System by VK Mehta, S Chand and Co., New Delhi

- Electrical Power System by JB Gupta, SK Kataria and Sons, New Delhi

- Sub-Station Design by Satnam, Dhanpat Rai and Co., New Delhi

- Electrical Power Distribution System by AS Pabla, Tata McGraw Hill, New Delhi

- Electrical Power System by S Channi Singh, Tata McGraw Publishing Co. New Delhi

9	e-books/e-tools/relevant software to be used as recommended by 	AICTE/HSBTE/NITTTR.

Websites for Reference:

http://swayam.gov.in

SUGGESTED DISTRIBUTION OF MARKS

| Topic No. | Time Allotted (Periods) | Marks Allocation (%) |
| --- | --- | --- |
| 1 | 12 | 20 |
| 2 | 06 | 10 |
| 3 | 20 | 30 |
| 4 | 16 | 24 |
| 5 | 06 | 10 |
| 6 | 04 | 06 |
| Total | 64 | 100 |

5.3    PROGRAMMABLE LOGIC CONTROLLERS AND MICRO CONTROLLERS

L  T   P

5    -   3

RATIONALE

A diploma holder when employed in automated industrial process controls or in automated power station will be required to know the basics of Programmable Logic Controllers, their working and their programming. In industry, many manufacturing processes demand a sequence of operation, which are to be performed repetitively. Early automation systems were mechanical in design, timing and sequencing being effected by gears and cams. Slowly these design concepts were replaced by electrical drives which were controlled by relays and now by programmable logic controllers (PLCs). A PLC is a solid state device, designed to operate in noisy industrial environments and can perform all logic functions. PLCs are widely used in all industries for efficient control operations. A diploma holder in industry is called upon to design , modify and troubleshoot such control circuits. Looking at the industrial applications of PLCs in the modern industry, this subject finds its usefulness in the present curriculum.

Microcontrollers have also assumed great significance in the field of electronics and comma goods industry, and thus considered to be an important field of engineering.  This subject aims to expose the students to both of these and give them adequate knowledge of these topics.

LEARNING OUTCOMES

After undergoing the subject, students will be able to:

- Explain functioning of PLC

- Identify inputs and outputs modules and configure with PLC module.

- Write a simple ladder logic program to realize logic functions.

- Use PLCs for simple applications

- Explain working of SCADA system for simple applications

- Explain the architecture and pin diagram of 8051 microcontroller

- Write a simple program to demonstrate Input and Output operations

- Interface Keypad, 7-segment display and stepper motor with  micro controller.

DETAILED CONTENTS

- Introduction to PLC							(06 Periods)

What is PLC, concept of PLC, Building blocks of PLC, Functions of various blocks, limitations of relays. Advantages of PLCs over electromagnetic relays. Different programming languages, PLC manufacturer etc.

2.	Working of PLC							(08 Periods)

- Basic operation and principles of PLC

- Architectural details processor

- Memory structures, I/O structure

- Programming terminal, power supply

3.	Instruction Set								(12 Periods)

- Basic instructions like latch, master control self holding relays.

- Timer instruction like retentive timers, resetting of timers.

- Counter instructions like up counter, down counter, resetting of counters.

- Arithmetic Instructions (ADD,SUB,DIV,MUL etc.)

- MOV instruction

- RTC(Real Time Clock Function)

- Comparison instructions like equal, not equal, greater, greater than equal, less than, less than equal

4.	Ladder Diagram Programming					(10 Periods)

Programming based on basic instructions, timer, counter, sequencer, and comparison instructions using ladder program.

5	Applications of PLCs							(10 Periods)

- Assembly line

- Packaging

- Process controls

- Car parking

- Traffic light control

- Washing machine

- Motor in forward and reverse direction

- Star-Delta, DOL Starters

- Filling of Bottles

- Room Automation

6.	Introduction to SCADA						(02 periods)

7.	Micro Controller Series (MCS)-51 Over View 		            (08 Periods)

- Difference between micro processor and micro controller

- Pin details

- I/o Port structure

- Memory Organisation

- Special function registers

8	Instruction Set  and  Addressing Modes				(08 Periods)

- Timer operation

- Serial Port operation

- Interrupts

9	Assembly language programming					(08 Periods)

- Data Transfer operations

- Input/Output operations

10	Design and Interface							(06 Periods)

Examples like:  keypad interface, 7- segment interface, LCD, stepper motor.

11.	Application of Micro controllers					(02 Periods)

## Listing different types of Micro controllers and their typical applications (one 	each)

## LIST OF PRACTICALS

## PLCs

- Demonstration of various components/sub-components of a PLC, Learning functions of different modules of a PLC system

- Practical steps in programming a PLC (a) using a Hand held programmer (b) using computer interface

- Demonstration to step 5 programming language, ladder diagram concepts, instruction list syntax

- Basic logic operations, AND, OR, NOT functions

- Logic control systems with time response as applied to clamping operation

- Sequence control system e.g. in lifting a device for packaging and   counting

- Use of PLC for an application( teacher may decide)

## Micro Controllers

- Demonstration and study of Micro Controllers (8051) kit

- Testing of general input/output on Micro controller  board

- Controlling of LEDs using microcontroller program

INSTRUCTIONAL STRATEGY

Introduce the subject and make the students familiar with applications of PLCs and Microcontrollers. The inputs shall start with theoretical inputs to architecture, instruction set, assembly language programming, Small projects may be identified, be designed and implemented. PLC ladder diagram and programming should be supplemented with visits to industry. More emphasis may be given to practical work.

MEANS OF ASSESSMENT

- Assignments and quiz/class tests, mid-term and end-term written tests.

- Actual laboratory and practical work, model/prototype making, assembly and disassembly exercises and viva-voce

## RECOMMENDED BOOKS

- Programmable Logic Controller by Job Dan Otter; P.H. International, Inc, USA

- Introduction to PLCs by Gary Dunning. McGraw Hill

- Module on PLCs and their Applications by Rajesh Kumar, NITTTR Chandigarh

- Programmable Logic Controller and Microcontrollers by Gurpreet Kaur and SK Sahdev by Uneek Publications, Jalandhar

- Module on “Allen Bradlag PlC (SLC 500), Institution set-1, by Rajesh Kumar, NITTTR,  Chandigarh

- Module on “PLC Applications based on SLC 5/03”  By Rajesh Kumar, NITTTR Chandigarh

- The 8051 Micro controllers Architecture, programming and Applications by Ayala; Penram International

- Microcontrollers by Mazidi

9)	e-books/e-tools/relevant software to be used as recommended by 	AICTE/HSBTE/NITTTR.

Websites for Reference:

http://swayam.gov.in

SUGGESTED DISTRIBUTION OF MARKS

| Topic No. | Time Allotted (Periods) | Marks Allocation (%) |
| --- | --- | --- |
|  | 06 | 05 |
|  | 08 | 13 |
|  | 12 | 12 |
|  | 10 | 10 |
|  | 10 | 10 |
|  | 02 | 05 |
|  | 08 | 12 |
|  | 08 | 10 |
|  | 08 | 11 |
|  | 06 | 07 |
|  | 02 | 05 |
| Total | 80 | 100 |

5.4.1       INSTRUMENTATION

L   T   P

4    -     3

RATIONALE

This subject deals with the various instruments, their construction and working which control the various parameters and operations in any industry. Electrical supervisor employed for maintenance of electrical equipment/ machinery is required  to diagnose faults, rectify them and test the total system for good performance. Thus there is a need of introducing diploma holders to the basics of Instrumentation. Basics of instrumentation has been dealt with in this subject

LEARNING OUTCOMES

After undergoing the subject, the students will be able to:

- Describe basic measuring systems.

- Use various measuring devices.

- Use instrument for measurement of a particular electrical quantity.

- Use instruments for measurement of a particular non-electrical quantity.

- Explain controlling system of a particular instrument.

DETAILED CONTENTS

1.	Measurements:							(04 Periods)

Importance of measurement, Basic measuring systems, advantages and limitations of each measuring systems, generalized measurement system, signal conditioning and display devices

2.	Transducers: 							           (08  Periods)

Theory, construction and use of various transducers (resistance, inductance, capacitance, electromagnetic, piezo electric type)

3.	Measurement of Displacement and Strain: 				(10 Periods)

Displacement Measuring Devices: wire wound potentiometer, LVDT, strain  gauges and their different types such as  inductance  type, resistive type, wire and foil type etc. Gauge factor, gauge materials, and their selections, sources of errors and its compensations. Use of electrical strain gauges, strain gauge bridges and amplifiers.

4.	Force and Torque Measurement: 					(10 Periods)

Different types of force measuring devices and their principles, load measurements by using elastic Transducers and electrical strain gauges. Load cells, proving rings. Measurements of torque by brake, dynamometer, electrical strain gauges, speed measurements; different methods, devices.

5.	Pressure Measurement: 						(08 Periods)

Bourdon pressure gauges, electrical pressure pick ups and their principle, construction and  applications. Use of pressure cells.

6.	Flow Measurement: 							(06 Periods)

Basic principles of magnetic and ultrasonic flow meters

7.	Measurement of Temperature: 					(10 Periods)

Bimetallic thermometer, pressure thermometers, thermoelectric thermometers, resistance thermometers, thermocouple, thermisters and pyrometer, errors in temperature measurements in rapidly moving fluids. Temperature recorders

8.	Measurement of other non electrical quantities such as humidity, pH level and vibrations								(08 Periods)

PRACTICAL EXERCISES

- To measure the level of a liquid using a transducer

- To measure temperature using a thermo-couple

- Study and use of digital temperature controller

- Use of themistor in ON/OFF transducer

- Study of variable capacitive transducer

- Draw the characteristics of a potentiometer

- To measure linear displacement using LVDT

- To study the use of electrical strain gauge

- To study weighing machine using load cell

- To study pH meter.

INSTRUCTIONAL STRATEGY

The teacher should explain the scope of various measuring devices and their practical applications in the field.  The transducers and measuring devices must be shown to the students and they should be trained in the reaction, operation, maintenance and calibrations.  Frequent visits to nearby process industries will be of immense help to the students.

MEANS OF ASSESSMENT

- Assignments and quiz/class tests, mid-term and end-term written tests, model/prototype making

- Actual laboratory and practical work, model/prototype making, assembly and disassembly exercises and viva-voce

RECOMMENDED BOOKS

- Electronic Measurement and Instrumentation by Dr Rajendra Prasad

- Electronic Measurement and Instrumentation by JB Gupta, SK Kataria and Sons, New Delhi

- Electrical and Electronics Measurement and Instrumentation by AK Sawhney, Dhanpat Rai and Co., New Delhi

- Electronic Instrumentation and Measurement Techniques by WD Cooper, AD Helfrick Prentice Hall of India Pvt. Ltd. New Delhi

- Industrial Instrumentation by Umesh Rathore, SK Kataria and Sons, New Delhi

- e-books/e-tools/relevant software to be used as recommended by AICTE/HSBTE/NITTTR.

Websites for Reference:

http://swayam.gov.in

SUGGESTED DISTRIBUTION OF MARKS

| Topic No. | Time Allotted (Periods) | Marks Allocation (%) |
| --- | --- | --- |
| 1 | 04 | 05 |
| 2 | 08 | 15 |
| 3 | 10 | 15 |
| 4 | 10 | 15 |
| 5 | 08 | 10 |
| 6 | 06 | 10 |
| 7 | 10 | 15 |
| 8 | 08 | 15 |
| Total | 64 | 100 |

5.4.2    AUTO ELECTRICAL

L  T  P

4   -   3

RATIONALE

Diploma holders in Electrical Engineering have to deal with different types of batteries, their charging and testing, regulators, lighting system and various other electrical accessories used in automobiles.  Hence the subject of automotive electric equipment is very essential for diploma holders.

LEARNING OUTCOMES

After undergoing this subject, the students will be able to:

- Identify various auto-electrical faults/troubles and their causes.

- Analyse and rectify various auto-electrical troubles with the help of troubleshooting charts

- Use suitable instruments and tools for diagnosis and testing of automotive electrical system

- Describe different type of accessories used in automobiles

- Explain charging and starting system

DETAILED CONTENTS

1.	Introduction 			    		           	                         (04 Periods)

Various Electrical and Electronics equipment components/systems in Automobile.  Their functions and demands, earth return system, types of earthing, 6V, 12V system.

2.	Batteries							                 (12 Periods)

2.1.	Lead Acid Batteries: Construction, working, elements, types, materials used, electrolyte and its strength, effect of added plate area and temperature, rating, capacity, efficiency, temperature characteristics, terminal voltages, charging and discharging.

2.2.	Battery Testing: Electrolyte testing by hydrometer, voltage test, high discharge and cadmium test. (voltage)

2.3.	Battery Charging: Constant potential and constant current, initial charging, normal charging, trickle charging, intermittent charging, boost charging.

2.4.  Battery Defects: Stipulation, plates decay, working, erosion, cracking, sedimentation, separator defects, short circuits, overcharging

2.5.	Basic description of Alkaline Batteries:

2.6        Lithium ion battery: Construction and working

3.	Charging System 						          (10 Periods)

3.1.	Circuits, function and various components, dynamo and alternator, types, construction, working, advantages and disadvantages of dynamo and alternators, drives, cut out relay.

3.2.	Regulation: Functions of various components of two unit,   three unit and heavy duty Regulators,  Regulators for alternators.

4.      	Starting System						          (10 Periods)

Function of various components, torque terms, principle and constructional details of starter motor, switches, types, starter to engine drive and their types, integrated started motor.

5.      	Lighting System						          (08 Periods)

5.1.	Various lighting circuits, head lamp, type and constructional details, sealed beam, double filaments, asymmetric and dual units, vertical and side control of lamps, fog light, side light, brake light, instrument light, indicator lights, reversing light, lamp mounting.

5.2.	Wiring: HT and LT, their specifications, cable colour codes, wiring Harness, Cable connections, Wiring diagrams  of cars and two wheeler, Fuses, faults and rectification.

6.      	Electrical Accessories 					           (08 Periods)

Fuel gauges - bimetallic and balancing coil type, Air pressure gauges, temperature gauges, Ammeter, warning light, speedometer, wind screen  wipers, horns, horn relay, electric fuel pump, Faults and rectification.

7.	Control Area Network							(07 periods)

7.1.	Block diagram

7.2.	Control of different sub systems in modern automobiles using micro 			controller

8.      	Miscellaneous Electrical Equipments				            (05 Periods)

Impulse Speedometer, tachometer, heater, defroster, Air conditioner, and Electric door locks, window actuation, Seat adjusters.

LIST OF PRACTICALS

- Testing of battery -  specific gravity test using hydrometer, voltage test, high rate discharge test; Charging of battery using battery charger.

- Testing of field winding of alternator and armature of starter motor for open circuit, short circuit and earthing.

- Study and sketching of various lighting circuits on a working model circuit board.

- Basic electrical checks:- Battery connections, electrical bulbs and units, circuit protection devices, wiring harness connections, colour coding.

- Replacement of head lamps, tail lamps, indicator lamps, fog lamps and lamp holders.

- Head light beam alignment and setting

- Testing and setting of horn and relay.

- Servicing of windscreen wiping system; replacement of wiper blade assembly.

INSTRUCTIONAL STATREGY

Teachers should lay emphasis on concepts and principles while imparting instructions.  As far possible, subject teaching should be supplemented by demonstrations in the laboratory.  During practical work, individual students should be given opportunities to perform practicals independently.

MEANS OF ASSESSMENT

- Assignments and quiz/class tests, mid-term and end-term written tests, model/prototype making

- Actual laboratory and practical work, model/prototype making, assembly and disassembly exercises and viva-voce

RECOMMENDED BOOKS

1.   	Automobile Engineering by Dr. Kirpal Singh, Standard Publishers, Delhi

2.   	Automotive Electrical Equipment by P.L. Kohli, Tata McGraw Hill, Delhi

3.   	Automotive Electrical Equipment by William H. Crouse, Tata McGraw Hill, Delhi

4.   	Automobile Engineering by Dr. R.B. Gupta, Satya Prakashan, New Delhi

5	e-books/e-tools/relevant software to be used as recommended by 	AICTE/HSBTE/NITTTR.

Websites for Reference:

http://swayam.gov.in

SUGGESTED DISTRIBUTION OF MARKS

| Topic No. | Time Allotted (Periods) | Marks Allotted (%) |
| --- | --- | --- |
| 1 | 04 | 06 |
| 2 | 12 | 20 |
| 3 | 10 | 16 |
| 4 | 10 | 16 |
| 5 | 08 | 12 |
| 6 | 08 | 12 |
| 7 | 07 | 10 |
| 8 | 05 | 08 |
| Total | 64 | 100 |

5.4.3   SOLAR PANEL INSTALLATION AND MAINTENANCE

L  T  P

4   -   3

RATIONALE

To train the person, who checks the installation site, understands the layout requirement as per design, assesses  precautionary measures to be taken, installs the solar panel as per customer’s requirement and ensures effective  functioning of the system post installation.

LEARNING OUTCOMES:

At the end of the course, the students will be able to :

- Check site conditions, collect tools and raw materials

- Install  solar panel

- Coordinate colleagues at workplace.

- Ensure safety at workplace

DETAIL CONTENTS

1.    Check site conditions, collect tools and raw materials	            	(20 periods)

  - Basics on solar energy and power generation systems

  - Use and handling procedure of solar panels

  - Energy storage, control and conversion

  - Basic electrical system and functioning

  - Mechanical equipment and its functioning

  - Maintenance procedure of equipment

  - Site survey, design and evaluation of various parameters

  - Tools involved in installation of system

  - Quality and process standards

  - Occupational health and safety standards

2.   Installation of Solar Panel							(20 periods)

2.1	Solar energy system components such as panels, batteries, charge controllers, inverters

2.2   	Significance of volts, amps and watts: series and parallel connection

2.3	Voltage requirement of various equipment

2.4	Panel mounting and inclination and angle of tilt

2.5	Placement of solar panel mounting

2.6	Sunlight and direction assessment

2.7	Site surveying methods and evaluation parameters

2.8	Tools involved in installation of system

3.  Coordinate colleagues at work						(12 periods)

3.1	Company’s policies on  incentives, delivery standards, and personnel management

3.2	Importance of the individual’s role in the workflow

3.3	Reporting structure

3.4	Communicating effectively

3.5	Building  team coordination

4.   Safety at workplace							(10 periods)

4.1	Maintaining  the work area safe and secure

4.2	Handling  hazardous material

4.3	Operating hazardous tools and equipment

4.4	Emergency procedures to be followed such as fire accidents, etc.

5.    Concept of Solar Tracking System					(02 periods)

LIST OF PRACTICALS

1.  Panel Installation

2.  Using Tools and Machines

3.  Handling Safety Equipment

INSTRUCTIONAL STATREGY

Teachers should lay emphasis on concepts and principles while imparting instructions.  As far possible, subject teaching should be supplemented by demonstrations in the laboratory.  During practical work, individual students should be given opportunities to perform practicals independently.

MEANS OF ASSESSMENT

- Assignments and quiz/class tests, mid-term and end-term written tests, model/prototype making

- Actual laboratory and practical work, model/prototype making, assembly and disassembly exercises and viva-voce

RECOMMENDED BOOKS

## 1.   Solar Panel Installation Guide & User Manual (Indian 	Edition) (E book) Solar 	   Electrical Energy   By N L Sharman

2.  D. Yogi Goswami, Frank Kreith, Jan. F. Kreider, “Principles of Solar Engineering”, 	 	Taylor & Francis, 2000, Indian reprint, 20032.

3.  “Fundamentals for solar energy conversion” by Edward E. Anderson; Addison Wesley 	Publ. Co., 1983

4	e-books/e-tools/relevant software to be used as recommended by 	AICTE/HSBTE/NITTTR.

Websites for Reference:

http://swayam.gov.in

SUGGESTED DISTRIBUTION OF MARKS

| Topic No. | Time Allotted (Periods) | Marks Allocation (%) |
| --- | --- | --- |
| 1 | 20 | 30 |
| 2 | 20 | 30 |
| 3 | 12 | 20 |
| 4 | 10 | 16 |
| 5 | 02 | 04 |
| Total | 64 | 100 |

5.5     NON-CONVENTIONAL ENERGY  SOURCES

L   T    P

5    -     -

## RATIONALE

Since the conventional energy resources are under fast depletion, it is high time to tap the non- conventional energy sources also. So, the solution primarily lies in tapping all possible energy generation sources but efficient use of available energy is also important. The electrical diploma holder must be made aware about saving and conserving Electrical Energy and tackle the problems of environmental pollution as they will have to face this challenge in future life.  Hence the subject.

LEARNING OUTCOMES

After undergoing the subject, the students will be able to:

- Explain the importance of non-conventional energy sources for the present energy scenario.

- Classify  various  non-conventional sources of energy

- Explain  principle of solar photovoltaic energy conversion  and the applications of solar energy in different fields.

- Explain basic conversion technologies of biomass, wind energy, geo-thermal, tidal energy, hydro energy and its applications.

- Explain direct energy conversion systems  like  magneto hydrodynamics and fuel cells and its applications.

DETAILED CONTENTS

1.	Basic of Energy:  							(06 periods)

Classification of Energy-primary and secondary energy, commercial and non-	commercial energy, importance of non conventional energy sources, present 	scenario, future prospectus, energy scenario in India, sector-wise energy 	consumption (domestic, industrial, agriculture etc.)

2.	Solar Energy: 						                    (14 periods)

Principle of conversion of solar radiation into heat, photo-voltaic cell, electricity generation, application of solar energy like solar water heaters, solar furnaces, solar cookers, solar lighting, solar pumping.

3.	Bio-energy: 							                (12 periods)

Bio-mass conversion technologies- wet and dry processes.  Methods for obtaining energy from biomass. Power generation by using gasifiers

4.	Wind Energy: 							             (12 periods )

Wind energy conversion, windmills, electricity generation from wind- types of wind mills, local control, energy storage

5.	Geo-thermal and Tidal Energy: 				              (16 periods)

Geo-thermal sources, Ocean thermal electric conversion, open and closed cycles, hybrid cycles.  Prime movers for geo-thermal energy conversion.  Steam Generation and electricity generation.

6.	Magneto Hydro Dynamic (MHD) Power Generation	              (04 periods)

7.       Fuel Cells					                    	              (10 periods)

Design and operating principles of a fuel cell, conversion efficiency, work output and e.m.f of fuel cells, applications.

8.	Hydro Energy – Mini & Micro hydro plants 		   	             (06 periods)

## INSTRUCTIONAL STRATEGY

The teacher should make the student s aware about the depletion of energy sources and the availability of alternate sources of energy their feasibility and limitations.  The need for adopting non-conventional energy sources should be made clear to students.  While explaining the need and energy management, the teacher should give students home assignments bases on energy conservation.  The students should be made familiar with the energy efficient devices, various approaches to conserve energy, energy auditing procedure etc.  Teacher must give practical application of these energy sources in nearby surrounding areas.

MEANS OF ASSESSMENT

- Assignments and quiz/class tests, mid-term and end-term written tests, model/prototype making

- Actual laboratory and practical work, model/prototype making, assembly and disassembly exercises and viva-voce

RECOMMENDED BOOKS :

- Solar Energy – Principles of thermal collection and Storage SP Sukhatme, Tata McGraw Hill Publication, New Delhi.

- Non-Conventional Energy Resources by RK Singal, SK Kataria and Sons, New Delhi

- Solar Energy Utilization; GD Rai ; Khanna Publishers, New Delhi.

- Reviews of Renewable Energy Sources, Vol. 3, Edited by MS Sodha, S.S. Mathur, MAS Malik, TC Kandpal ; Wiley Eastern Limited, New Delhi.

- Renewable Energy Sources  and Conversion Technology by NK Bansal, Manfred Kleemann, Michael Meliss, Tata McGraw Hill Publishing Co. Ltd New Delhi.

- Energy Today and Tomorrow; Maheshwar Dayal; Publications Division, Ministry of Information and Broadcasting, Govt. of India, New Delhi.

- Energy Technology (non-conventional, renewable and conventional) by S Rao and BB Parulekar, Khanna Publishers, New Delhi

- Manual on Energy Efficiency at Design Stage, CII Energy Management Cell.

- Energy Conservation-case studies in ceramic industry, sugar industry, fertiliser industry, cement industry. CII, Energy Management Cell etc

- e-books/e-tools/relevant software to be used as recommended by AICTE/HSBTE/NITTTR.

Websites for Reference:

http://swayam.gov.in

SUGGESTED DISTRIBUTION OF MARKS

| Sr. No | Topic | Time Allotted (periods) | Marks Allocation (%) |
| --- | --- | --- | --- |
| 1. | Basic of Energy | 06 | 10 |
| 2. | Solar Energy | 14 | 15 |
| 3. | Bio-energy | 12 | 10 |
| 4. | Wind Energy | 12 | 15 |
| 5. | Geo-thermal and Tidal Energy | 16 | 20 |
| 6. | Magneto Hydro Dynamic Power Generation | 04 | 05 |
| 7. | Fuel Cells | 10 | 15 |
| 8. | Hydro Energy | 06 | 10 |
|  | Total | 80 | 100 |

5.6	MINOR PROJECT WORK

L  T   P

-    -    6

RATIONALE

Minor project work aims at exposing the students to industrial/field practices so as to have an appreciation of size, scale and type of operations; and work culture in the industries.

LEARNING OUTCOMES

After undergoing the subject, students will be able to:

- Apply concepts, principles and practices taught in the classroom in solving field/industrial problems.

GENERAL GUIDELINES

Depending upon the interests of the students and location of the organization, the students may be asked to do Market study in the following cases:

1.	Working model based on generation of electrical energy using non-conventional 	energy sources.

2	Various types of cables available in the market, their current rating/specifications, 	different makes/manufacturing companies (minimum three), comparison of cost 	between different makes.

3.	Various types of domestic/wiring components such as switches, sockets, holders 	etc., their specifications, different makes or manufacturing companies (minimum 	three), comparison of cost between different makes.

4.	Various types of protective devises used in domestic and industrial wiring such as 	MCBs, ELCB/RCCB, fuses etc. their specifications, make (minimum three), and 	comparison of cost between different makes.

5	Various types of electric lamps (lumeneries) available in the market, their 	specifications, different makes or manufacturing companies (minimum three), 	comparison of cost between different makes.

6.	Various types of Electrical Appliances (domestic and commercial) available in the 	market, their specifications, different makes or manufacturing companies 	(minimum three), comparison of cost between different makes. (compare any one 	type)

7.	Survey and study industrial/government buildings and  house wiring accessories, 	manufacturers, rates, specifications, 	their literature collection for their design

8.	Study of LT/HT components, detailed specifications from catalogues of 	manufacturers, drawings, rates, availability in local market

NOTE:

This is only a suggestive list. The students may take any other problem as per their interest. The students of the class may be divided into five groups and work may be assigned to each group as per their interest.

The components of evaluation will include the following :

Component			       	     Weightage

a)	Punctuality and regularity				15%

b)	Initiative in learning new things			15%

c)	Relationship with others/workers 			15%

d)	Project Report/ Technical report			55%

5.7    SOFT  SKILLS – III

L     T     P

      - -      3

RATIONALE

The present day world requires professionals who are not only well qualified and competent but also possess good communication skills. The diploma students not only need to possess subject related knowledge but also soft skills to get good jobs or to rise steadily at their work place. The objective of this subject is to prepare students for employability in job market.

LEARNING OUTCOMES

After undergoing this course, the students will be able to:

- Develop communication skills.

- Learn how to speak without fear and get rid of hesitation

- Use effective presentation techniques

- Understand entrepreneurial traits

- Exhibit attitudinal changes

DETAILED CONTENTS

- Communication Skills – Handling fear and phobia

- Resume Writing

- Applying for job through email/job portal

- Interview  preparation : Mock Interview, Group Discussions and Extempore

- Presentation Techniques

- Developing attitude towards safety. Disaster management.

In addition, the  students must participate in the following activities  to be organized in the institute

- Sports

- NCC/NSS

- Camp – Entrepreneurial awareness

- Cultural  Event

Note :   Extension Lectures by experts may  be organized.  There will be no examination for this subject.